## Sheet1
Lesson 3.2: Panels
Block Type | Text | Narration | Media | Description
Text on Image | Lesson Objective: In this lesson, you will develop the skills to evaluate electrical panels, identify key factors such as panel age, determine compliance with safety standards.
Title | General Panel Information
Text | In 4-point inspections, electrical panel evaluations focus on three key aspects.
Accordion 1 | Panel Age: Because older panels lack modern safety features, they are more prone to hazards like overheating or electrical fires. Panels over 30 years old require closer inspection and may lead to replacement recommendations. | mf_1383835758o5f0r
Accordion 2 | Year Last Updated: Recent panel updates often indicate improved safety because they typically bring the system into compliance with modern electrical codes, replace outdated or hazardous components, and include advanced safety features such as AFCIs and GFCIs. In contrast, long periods without maintenance may suggest potential issues. Verify when the panel was last updated or serviced to assess its current condition. | 53_fuse_box_0
Accordion 3 | Brand/Model: Some panel brands, including Federal Pacific Electric (FPE), Zinsco, and Challenger, have known safety issues caused by manufacturing defects or outdated designs. Recognizing these brands allows you to determine whether the panel requires upgrades to comply with current safety standards. | 70_zinsco
Title | Activity: Evaluating Panel Age and Updates
M/C | During a 4-point inspection, you encounter an electrical panel installed in 1985. The homeowner mentions the panel was last updated 10 years ago, but no documentation is available.
Based on this information, how should you proceed?
1. Options:
A. Assume the update brought the panel up to code and no further action is needed.
B. Document the age of the panel, note the lack of documentation for updates, and recommend evaluation by a licensed electrician.
C. Only focus on visible damage since the panel has been updated.
Correct Answer: B
Feedback:
A: Incorrect. Updates without documentation should be evaluated for compliance with safety standards.
B: Correct! Documenting panel age and update history ensures thorough reporting and compliance.
C: Incorrect. Visible damage is important, but age and update history also impact safety.
Panel Types
When inspecting electrical panels, it's important to understand the two primary types commonly found in residential and commercial buildings: circuit breaker panels and fuse panels. Each has distinct features, advantages, and safety considerations.
Tab1 | Circuit Breaker Panels
| A circuit breaker panel is the modern standard for electrical distribution in homes and buildings. It uses circuit breakers, which are switches designed to automatically shut off electrical flow when a circuit becomes overloaded or experiences a short circuit. | example_panel_71194397
Tab 2 | Fuse Panels
| Fuse panels are older systems that protect electrical circuits using fuses. A fuse contains a metal strip that melts when too much current flows through, breaking the circuit and stopping electrical flow. | 53_fuse_box_1
Title | Total Amperage
| Total amperage indicates whether the system can handle modern demands and reveals potential risks, such as fire hazards or outdated panels. Watch the video below for a sound strategy to find the system amperage. | 39_Video
Throws
Text | According to the National Electrical Code (NEC) Section 230.71(A), a service is allowed a maximum of six disconnects. This rule applies to the main service panel, where the utility power first enters a building. The intent of this rule is to ensure that all power can be shut off quickly in case of an emergency.
Video |  | 55_Video
Title | Circuit Breaker Panels
Text | Circuit breaker panels distribute electricity safely, protecting homes by interrupting power during overloads or faults, ensuring system reliability and safety.
Subtitle | The Neutral Bus
| The neutral bus is a critical component in an electrical panel where neutral and ground wires terminate. Understanding what can and cannot be connected to the neutral bus ensures electrical safety and compliance with the National Electrical Code (NEC). | 44_45_video
Text | Let's take a moment to recap correct neutral bus configurations
Subttle | Allowed
Accordion 1 | Single Neutral Wire Per Screw:
Only one neutral wire (white) is permitted under each screw on the neutral bus.
· Why: This prevents loose connections, arcing, and potential overheating during service or maintenance.
Accordion 1 | Two Ground Wires Per Screw (If permitted):
Two ground wires (bare or green) may be secured under a single screw if the panel’s manufacturer allows it.
· Why: Since ground wires only carry current during a fault, they can safely share a terminal when approved by the manufacturer.
Subtitle | Not Allowed
Accordion 1 | Multiple Neutral Wires Under One Screw:
Connecting two or more neutral wires to a single screw is prohibited.
Why: This can cause poor connections, loosening during maintenance, and overheating, which may lead to electrical fires.
Accordion 2 | Mixing Neutral and Ground Wires on the Same Screw:
A neutral wire and a ground wire cannot be connected under the same screw.
Why: Neutrals carry current during normal operation, while grounds only carry current during a fault. Mixing them can create shock hazards and improper fault detection.
Title | Double Taps
Text | A double tap occurs when two wires are connected to a single circuit breaker terminal, which can result in overheating, arcing, and even electrical fires if not done correctly. Double taps are commonly found in main electrical panels, particularly in older homes or after DIY electrical work. However, this wiring method is typically not code-compliant unless the breaker is specifically designed to accommodate two wires.
Text | The only major exceptions to the one-wire-per-breaker rule are Square D (QO and Homeline series) and certain Siemens breakers. These breakers are designed to hold two wires securely under a single terminal screw, thanks to a special terminal clamp that prevents loose connections. For other breaker brands, assume double taps are not allowed unless explicitly approved by the manufacturer. | 46_Video
Bullet 1 | Check Manufacturer Labels: Look for manufacturer labels inside the panel or specific breaker models to see if the breaker is approved for double taps.
Bullet 2 | Look for Two Wire Slots: Approved breakers typically have two clearly visible wire slots on the terminal screw, indicating they are designed to hold two wires securely.
Title | Activity : “Allowed or Not Allowed?”
Text | Instruction: Reflect on the previous section and decide whether the configuration displayed on the front of the card is allowed or not. Flip the card to reveal the correct answer and an explanation.
Card 1: | Two neutral wires under one screw.
Back: Not Allowed. This can lead to loose connections, arcing, and overheating.
Card 2: | One neutral wire under each screw.
Back: Allowed. This ensures secure and safe connections.
Card 3: | Card 3: A ground wire and a neutral wire under the same screw.
Back: Not Allowed. Neutrals carry current in normal operation, while grounds carry current only during faults.
Card 4: | Two ground wires under one screw (per manufacturer guidelines).
Back: Allowed. Ground wires can safely share a terminal when permitted by the panel’s manufacturer.
Title | Fuse Panels
Text | Although considered outdated, fuse boxes remain common in older homes due to the high cost of upgrading to modern circuit breaker panels. Replacing a fuse box typically involves rewiring, panel replacement, and possibly increasing service capacity—an expensive undertaking many homeowners choose to avoid.
Video |  | 53_54_Video_Revised
Problematic Panels
Certain electrical panels are considered unsafe or unreliable due to design flaws and failure rates. Many insurance companies may decline coverage or require replacement of these panels. Caution should be taken with these panels. Electric Panels that may or may not be accepted by insurance company
Process 1 | Federal Pacific Electric (FPE): FP&E panels should be called out on safety grounds. Due to Overloads Failure happens about 60% of the time. Regardless of the condition of the panels and breakers. | 66_67_Video_2
Process 2 | Zinsco: Zinsco panels were popular in the 1950s through the 1970s. Sylvania acquired Zinsco in 1973, continuing production under the Sylvania brand. They are prone to becoming loose on the bus bar over time. Poor connections cause overheating, leading to potential meltdowns or fires. A 15-amp breaker often failed to trip, even when exposed to loads exceeding 60 amps.
Process 3 | Bryant Panels {General Electric} | 77_72_Video
Process 4 | Challenger Panels | challenger_panels | Animation but no narration provided
| Challenger electrical panels, installed in homes from the 1980s to 1990s, are typically gray, rectangular, and often marked with "Challenger" or a "CH" logo on the door or breakers. Known safety concerns include breaker failures, overheating, and corrosion-prone aluminum bus bars. Some components were recalled, and electricians often recommend replacing these panels with safer modern alternatives. If you have one, have it inspected by a licensed electrician and consider upgrading for safety. | 73_Challenger
| Murray Breakers & Panels {Siemens} | n/a | Mentioned on slide 65 but no other info provided
Murray breakers and panels, used in residential and commercial installations, were popular for their affordability and compatibility with Siemens components. However, Murray panels have faced concerns over durability and safety as they age. Issues like overheating, loose connections, or arcing can arise, particularly with older models. The brand was phased out by Siemens in 2020, and replacement breakers or parts can be challenging to source. Inspectors should assess Murray panels for signs of wear, corrosion, or breaker failure and recommend upgrading to modern panels when necessary for safety and compliance.
Image / Text: Image |  | shocking truths
Image / Text: Text | Encountered a Problematic Panel?
This visual guide offers quick identification tips and troubleshooting steps for inspectors. If you identify a potential hazard, use our scripts to report your findings and confidently explain them to clients. Download a printable version of this guide below.
Download |  | shocking truths.pdf
Title | Activity: What's the Problem
Which of the following are considered problematic electrical panels? Select all that apply.
Options:
Zinsco
Enterprise
Federal Pacific (FPE)
Challenger
American Atlantic
Square D
Oxford
Correct Answers:
Zinsco
Federal Pacific (FPE)
Challenger
Explanation:
Zinsco, Federal Pacific (FPE), and Challenger panels are known for safety issues, such as overheating, breaker malfunctions, and poor design.
This lesson focused on inspecting electrical panels during a 4-point inspection. We covered how to identify outdated or hazardous models, including problematic brands like Challenger and Murray. Key takeaways included recognizing signs of overheating or corrosion and providing actionable recommendations for repairs or upgrades.
Next, we’ll explore modern wiring systems, focusing on their materials, installation standards, and safety benefits. This lesson will prepare you to identify compliant systems and address common wiring concerns during inspections.
Continue | Continue to Lesson 3.3 Modern Wiring

## Sheet2
Lesson 2: Panels
Block Type | Text | Visual | Motion/ Audio | Description
Text on Image | Lesson Objective: In this lesson, you will develop the skills to evaluate electrical panels, identify key factors such as panel age, determine compliance with safety standards. |  |  | Image of a panel
Title | General Panel Information
Text | In 4-point inspections, electrical panel evaluations focus on three key aspects.
Accordion 1 | Panel Age: Because older panels lack modern safety features, they are more prone to hazards like overheating or electrical fires. Panels over 30 years old require closer inspection and may lead to replacement recommendations. | mf_1383835758o5f0r |  | Old panel
Accordion 2 | Year Last Updated: Recent panel updates often indicate improved safety because they typically bring the system into compliance with modern electrical codes, replace outdated or hazardous components, and include advanced safety features such as AFCIs and GFCIs. In contrast, long periods without maintenance may suggest potential issues. Verify when the panel was last updated or serviced to assess its current condition. | 53_fuse_box_0 |  | Outdated tech like fuse box
Accordion 3 | Brand/Model: Some panel brands, including Federal Pacific Electric (FPE), Zinsco, and Challenger, have known safety issues caused by manufacturing defects or outdated designs. Recognizing these brands allows you to determine whether the panel requires upgrades to comply with current safety standards. | 70_zinsco |  | AME provided Zinsco image
Divider | Continue
Title | Activity: Evaluating Panel Age and Updates
M/C | During a 4-point inspection, you encounter an electrical panel installed in 1985. The homeowner mentions the panel was last updated 10 years ago, but no documentation is available.
Based on this information, how should you proceed?
1. Options:
A. Assume the update brought the panel up to code and no further action is needed.
B. Document the age of the panel, note the lack of documentation for updates, and recommend evaluation by a licensed electrician.
C. Only focus on visible damage since the panel has been updated.
Correct Answer: B
Feedback:
A: Incorrect. Updates without documentation should be evaluated for compliance with safety standards.
B: Correct! Documenting panel age and update history ensures thorough reporting and compliance.
C: Incorrect. Visible damage is important, but age and update history also impact safety.
Title | Panel Types
When inspecting electrical panels, it's important to understand the two primary types commonly found in residential and commercial buildings: circuit breaker panels and fuse panels. Each has distinct features, advantages, and safety considerations.
Tab1 | Circuit Breaker Panels
| A circuit breaker panel is the modern standard for electrical distribution in homes and buildings. It uses circuit breakers, which are switches designed to automatically shut off electrical flow when a circuit becomes overloaded or experiences a short circuit. | example_panel_71194397
Tab 2 | Fuse Panels
| Fuse panels are older systems that protect electrical circuits using fuses. A fuse contains a metal strip that melts when too much current flows through, breaking the circuit and stopping electrical flow. | 53_fuse_box_1
Divider | Continue
Title | Total Amperage
| Total amperage indicates whether the system can handle modern demands and reveals potential risks, such as fire hazards or outdated panels. Watch the video below for a sound strategy to find the system amperage. | 39_Video
Throws
Text | According to the National Electrical Code (NEC) Section 230.71(A), a service is allowed a maximum of six disconnects. This rule applies to the main service panel, where the utility power first enters a building. The intent of this rule is to ensure that all power can be shut off quickly in case of an emergency.
Video |  | 55_Video
Divider | Continue
Title | Circuit Breaker Panels
Text | Circuit breaker panels distribute electricity safely, protecting homes by interrupting power during overloads or faults, ensuring system reliability and safety.
Subtitle | The Neutral Bus
| The neutral bus is a critical component in an electrical panel where neutral and ground wires terminate. Understanding what can and cannot be connected to the neutral bus ensures electrical safety and compliance with the National Electrical Code (NEC). | 44_45_video
Text | Let's take a moment to recap correct neutral bus configurations
Subttle | Allowed
Accordion 1 | Single Neutral Wire Per Screw:
Only one neutral wire (white) is permitted under each screw on the neutral bus.
· Why: This prevents loose connections, arcing, and potential overheating during service or maintenance.
Accordion 1 | Two Ground Wires Per Screw (If permitted):
Two ground wires (bare or green) may be secured under a single screw if the panel’s manufacturer allows it.
· Why: Since ground wires only carry current during a fault, they can safely share a terminal when approved by the manufacturer.
Subtitle | Not Allowed
Accordion 1 | Multiple Neutral Wires Under One Screw:
Connecting two or more neutral wires to a single screw is prohibited.
Why: This can cause poor connections, loosening during maintenance, and overheating, which may lead to electrical fires.
Accordion 2 | Mixing Neutral and Ground Wires on the Same Screw:
A neutral wire and a ground wire cannot be connected under the same screw.
Why: Neutrals carry current during normal operation, while grounds only carry current during a fault. Mixing them can create shock hazards and improper fault detection.
Divider | Continue
Title | Double Taps
Text | A double tap occurs when two wires are connected to a single circuit breaker terminal, which can result in overheating, arcing, and even electrical fires if not done correctly. Double taps are commonly found in main electrical panels, particularly in older homes or after DIY electrical work. However, this wiring method is typically not code-compliant unless the breaker is specifically designed to accommodate two wires.
Text | The only major exceptions to the one-wire-per-breaker rule are Square D (QO and Homeline series) and certain Siemens breakers. These breakers are designed to hold two wires securely under a single terminal screw, thanks to a special terminal clamp that prevents loose connections. For other breaker brands, assume double taps are not allowed unless explicitly approved by the manufacturer. | 46_Video
Bullet 1 | Check Manufacturer Labels: Look for manufacturer labels inside the panel or specific breaker models to see if the breaker is approved for double taps.
Bullet 2 | Look for Two Wire Slots: Approved breakers typically have two clearly visible wire slots on the terminal screw, indicating they are designed to hold two wires securely.
Divider | Continue
Title | Activity : “Allowed or Not Allowed?”
Text | Instruction: Reflect on the previous section and decide whether the configuration displayed on the front of the card is allowed or not. Flip the card to reveal the correct answer and an explanation.
Card 1: | Two neutral wires under one screw.
Back: Not Allowed. This can lead to loose connections, arcing, and overheating.
Card 2: | One neutral wire under each screw.
Back: Allowed. This ensures secure and safe connections.
Card 3: | Card 3: A ground wire and a neutral wire under the same screw.
Back: Not Allowed. Neutrals carry current in normal operation, while grounds carry current only during faults.
Card 4: | Two ground wires under one screw (per manufacturer guidelines).
Back: Allowed. Ground wires can safely share a terminal when permitted by the panel’s manufacturer.
Divider | Continue
Title | Fuse Panels
Text | Although considered outdated, fuse boxes remain common in older homes due to the high cost of upgrading to modern circuit breaker panels. Replacing a fuse box typically involves rewiring, panel replacement, and possibly increasing service capacity—an expensive undertaking many homeowners choose to avoid.
Video |  | 53_54_Video_Revised
Problematic Panels
Certain electrical panels are considered unsafe or unreliable due to design flaws and failure rates. Many insurance companies may decline coverage or require replacement of these panels. Caution should be taken with these panels. Electric Panels that may or may not be accepted by insurance company
Process 1 | Federal Pacific Electric (FPE): FP&E panels should be called out on safety grounds. Due to Overloads Failure happens about 60% of the time. Regardless of the condition of the panels and breakers. | 66_67_Video_2
Process 2 | Zinsco: Zinsco panels were popular in the 1950s through the 1970s. Sylvania acquired Zinsco in 1973, continuing production under the Sylvania brand. They are prone to becoming loose on the bus bar over time. Poor connections cause overheating, leading to potential meltdowns or fires. A 15-amp breaker often failed to trip, even when exposed to loads exceeding 60 amps.
Process 3 | Bryant Panels {General Electric} | 77_72_Video
Process 4 | Challenger Panels | challenger_panels | Animation but no narration provided
| Challenger electrical panels, installed in homes from the 1980s to 1990s, are typically gray, rectangular, and often marked with "Challenger" or a "CH" logo on the door or breakers. Known safety concerns include breaker failures, overheating, and corrosion-prone aluminum bus bars. Some components were recalled, and electricians often recommend replacing these panels with safer modern alternatives. If you have one, have it inspected by a licensed electrician and consider upgrading for safety. | 73_Challenger
| Murray Breakers & Panels {Siemens} | n/a | Mentioned on slide 65 but no other info provided
Murray breakers and panels, used in residential and commercial installations, were popular for their affordability and compatibility with Siemens components. However, Murray panels have faced concerns over durability and safety as they age. Issues like overheating, loose connections, or arcing can arise, particularly with older models. The brand was phased out by Siemens in 2020, and replacement breakers or parts can be challenging to source. Inspectors should assess Murray panels for signs of wear, corrosion, or breaker failure and recommend upgrading to modern panels when necessary for safety and compliance.
Image / Text: Image |  | shocking truths
Image / Text: Text | Encountered a Problematic Panel?
This visual guide offers quick identification tips and troubleshooting steps for inspectors. If you identify a potential hazard, use our scripts to report your findings and confidently explain them to clients. Download a printable version of this guide below.
Download |  | shocking truths.pdf
Divider | Continue
Title | Activity: What's the Problem
Which of the following are considered problematic electrical panels? Select all that apply.
Options:
Zinsco
Enterprise
Federal Pacific (FPE)
Challenger
American Atlantic
Square D
Oxford
Correct Answers:
Zinsco
Federal Pacific (FPE)
Challenger
Explanation:
Zinsco, Federal Pacific (FPE), and Challenger panels are known for safety issues, such as overheating, breaker malfunctions, and poor design.
This lesson focused on inspecting electrical panels during a 4-point inspection. We covered how to identify outdated or hazardous models, including problematic brands like Challenger and Murray. Key takeaways included recognizing signs of overheating or corrosion and providing actionable recommendations for repairs or upgrades.
Next, we’ll explore modern wiring systems, focusing on their materials, installation standards, and safety benefits. This lesson will prepare you to identify compliant systems and address common wiring concerns during inspections.
Continue | Continue to Lesson 3.3 Modern Wiring